{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["2017년"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"2017년","index":0,"n_rows":19,"n_cols":24,"rows_kept":19,"cut":false,"hidden":false,"merged":[[18,19,18,20],[18,21,18,22],[18,23,18,24],[16,19,16,20],[16,21,16,22],[16,23,16,24],[17,19,17,20],[17,21,17,22],[17,23,17,24],[14,19,14,20],[14,21,14,22],[14,23,14,24],[15,19,15,20],[15,21,15,22],[15,23,15,24],[12,19,12,20],[12,21,12,22],[12,23,12,24],[13,19,13,20],[13,21,13,22],[13,23,13,24],[10,19,10,20],[10,21,10,22],[10,23,10,24],[11,19,11,20],[11,21,11,22],[11,23,11,24],[8,19,8,20],[8,21,8,22],[8,23,8,24],[9,19,9,20],[9,21,9,22],[9,23,9,24],[6,19,6,20],[6,21,6,22],[6,23,6,24],[7,19,7,20],[7,21,7,22],[7,23,7,24],[4,19,4,20],[4,21,4,22],[4,23,4,24],[5,19,5,20],[5,21,5,22],[5,23,5,24],[3,19,3,24],[4,1,4,2],[4,3,4,4],[4,5,4,6],[4,7,4,8],[4,9,4,10],[4,11,4,12],[4,13,4,14],[4,15,4,16],[4,17,4,18],[1,0,1,18],[2,14,2,18],[3,0,5,0],[3,1,3,6],[3,7,3,12],[3,13,3,18]]}
[]
["월별 에너지 사용 실적(2017년)"]
[{"$nulls":14},"서울특별시 보라매병원"]
["구 분","상하수도 요금",{"$nulls":5},"도시가스 요금",{"$nulls":5},"전기요금",{"$nulls":5},"합   계"]
[null,"병  원",null,"임대매장",null,"합계",null,"병  원",null,"임대매장",null,"합계",null,"병  원",null,"임대매장",null,"합계",null,"병  원",null,"임대매장",null,"합계"]
[null,"사용량(㎥)","금  액","사용량(㎥)","금  액","사용량(㎥)","금  액","사용량(㎥)","금  액","사용량(㎥)","금  액","사용량(㎥)","금  액","사용량          (KWh)","금  액","사용량(KWh)","금  액","사용량(KWh)","금  액","금액",null,"금액",null,"금액"]
["1월",23230,48305260,437,1106430,{"$f":"+B7+D7","v":23667},{"$f":"C7+E7","v":49411690},200268.89199999999,141558590,2776.1080000000075,2007100,{"$f":"+H7+J7","v":203045},{"$f":"I7+K7","v":143565690},1835187,244601330,30453,4590120,{"$f":"+N7+P7","v":1865640},{"$f":"O7+Q7","v":249191450},{"$f":"SUM(C7,I7,O7)","v":434465180},null,{"$f":"SUM(E7,K7,Q7)","v":7703650},null,{"$f":"SUM(T7,V7)","v":442168830}]
["2월",21118,44603880,444,1118120,21562,45722000,176535.05600000001,124549590,2479.9439999999886,1788020,179015,126337610,1574981,205159450,29176,4271420,1604157,209430870,{"$f":"SUM(C8,I8,O8)","v":374312920},null,{"$f":"SUM(E8,K8,Q8)","v":7177560},null,{"$f":"SUM(T8,V8)","v":381490480}]
["3월",18293,37184240,1275,4261060,19568,41445300,137796.57699999999,100785280,4397.4230000000098,3276210,142194,104061490,1572447,176109210,32333,4183980,1604780,180293190,314078730,null,11721250,null,325799980]
["4월",17410,35706310,1515,4439090,{"$f":"+B10+D10","v":18925},{"$f":"C10+E10","v":40145400},91980,61721900,3729,2562280,{"$f":"+H10+J10","v":95709},{"$f":"I10+K10","v":64284180},1549758,172857430,35096,4266440,{"$f":"+N10+P10","v":1584854},{"$f":"O10+Q10","v":177123870},270285640,null,11267810,null,281553450]
["5월",21185,44407010,1478,3764390,{"$f":"+B11+D11","v":22663},48171400,101137.98643999999,47810930,4853.0135600000067,2530520,105991,50341450,1924870,226456730,39558,5113160,1964428,231569890,318674670,null,11408070,null,330082740]
["6월",22753,47700390,1617,3973210,24370,51673600,140208.13699999999,62749250,5370.8630000000121,2679140,145579,65428390,2173354,295367040,44178,6682700,2217532,302049740,405816680,null,13335050,null,419151730]
["7월",28367,59816870,1719,4048430,{"$f":"+B13+D13","v":30086},{"$f":"C13+E13","v":63865300},196349.17019999999,86418410,7939.8298000000068,3821270,{"$f":"+H13+J13","v":204289},{"$f":"I13+K13","v":90239680},2629964,350962200,47680,7365830,{"$f":"+N13+P13","v":2677644},{"$f":"O13+Q13","v":358328030},497197480,null,15235530,null,512433010]
["8월",28443,60184120,1827,4265580,30270,64449700,197544.47308,87118740,7383.5269200000039,3601370,204928,90720110,2318166,292587510,44442,6477160,2362608,299064670,439890370,null,14344110,null,454234480]
["9월",28255,59929750,1655,3990550,{"$f":"+B15+D15","v":29910},{"$f":"C15+E15","v":63920300},138869.34847999999,63535210,4857.651520000014,2561910,{"$f":"+H15+J15","v":143727},{"$f":"I15+K15","v":66097120},1886685,198487890,35801,4185240,{"$f":"+N15+P15","v":1922486},{"$f":"O15+Q15","v":202673130},321952850,null,10737700,null,332690550]
["10월",20331,42244530,1451,4083370,{"$f":"+B16+D16","v":21782},{"$f":"C16+E16","v":46327900},96118.373000000007,68964240,3787.6269999999931,2779630,{"$f":"+H16+J16","v":99906},{"$f":"I16+K16","v":71743870},1680014,204700150,37267,4926360,{"$f":"+N16+P16","v":1717281},{"$f":"O16+Q16","v":209626510},315908920,null,11789360,null,327698280]
["11월",{"$nulls":4},{"$f":"+B17+D17","v":0},{"$f":"C17+E17","v":0},{"$nulls":4},{"$f":"+H17+J17","v":0},{"$f":"I17+K17","v":0},{"$nulls":4},{"$f":"+N17+P17","v":0},{"$f":"O17+Q17","v":0},0,null,0,null,0]
["12월",{"$nulls":4},{"$f":"+B18+D18","v":0},{"$f":"C18+E18","v":0},{"$nulls":4},{"$f":"+H18+J18","v":0},{"$f":"I18+K18","v":0},{"$nulls":4},{"$f":"+N18+P18","v":0},{"$f":"O18+Q18","v":0},0,null,0,null,0]
["합계",{"$f":"SUM(B7:B18)","v":229385},480082360,13418,35050230,{"$f":"SUM(F7:F18)","v":242803},{"$f":"SUM(G7:G18)","v":515132590},1476808.0131999997,845212140,47574.986800000042,27607450,{"$f":"SUM(L7:L18)","v":1524383},{"$f":"SUM(M7:M18)","v":872819590},19145426,2367288940,375984,52062410,{"$f":"SUM(R7:R18)","v":19521410},{"$f":"SUM(S7:S18)","v":2419351350},{"$f":"SUM(T7:U18)","v":3692583440},null,{"$f":"SUM(V7:W18)","v":114720090},null,{"$f":"SUM(X7:Y18)","v":3807303530}]